## Sheet1
2025 Construction Cost Sheet
All Cost Listed are Maximum Allowable Cost
SOFT COST | DESCRIPTION & MATERIAL | COST | SPECIFICATIONS / OTHER INFORMATION
Building Permits | Per Job Site | Local Cost | Posted on job site.
DEMO | DESCRIPTION | COST | OTHER INFORMATION
Floor | Per Square Foot of floor | 2.6 | Demo floor down to floor joist.
Ceiling | Per Square Foot of ceiling | 1.95 | Demo ceiling to ceiling joist.
Walls | Per Square Foot of wall | 1.65 | Demo wall down to Studs.
Floor, Walls and Ceiling | Per Square Foot of floor area | 4.6 | Demo floor, walls and ceilings down to joist and studs.
Bath Room Floor | Per Square Foot of floor | 7.15 | Demo floor down to floor joist.
Bath Room | Per Square Foot of floor area | 11 | Demo floor, walls and ceiling down to joist and studs.
EPA RRP CONTAINMENT | DESCRIPTION | COST | OTHER INFORMATION
Windows or Exterior Doors | Per a Window or Door | 100 | All inclusive fee per window or door to meet all EPA RRP requirements including but not limited to sinage, containment's and clean up.
Renovation Containments | Per Component | Detailed Quote | Inspector to review all details and approve costs. Estimates required
EXTERIOR | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Three Tab Roofing Shingles | Per Square 2/12 to 8/12 pitch | 290 | Complete roof system. Includes complete tear off, Synthetic Felt, Drip Edge, Valley Lining/ Ice & Water, Ridge Vent, Pipe Boots, Penetration Flashings and Dump/ Disposal Fees. Racking Application of Shingles is Prohibited.
Architectural Roofing Shingles | Per Square 4/12 to 8/12 pitch | 300 | Complete roof system. Includes complete tear off, Synthetic Felt, Drip Edge, Valley Lining/ Ice & Water, Ridge Vent, Pipe Boots, Penetration Flashings and Dump/ Disposal Fees. Architectural style shingles prohibited on pitches less than 4/12. Racking Application of Shingles is Prohibited.
Underlayment / Felt | Per Square 2/12 up to 4/12 pitch | 12 | Double synthetic underlayment for roof pitch 2/12 up to 4/12.
Additional Layers of shingles | Per Square | 20 | Per additional layer, includes dump/disposal.
Additional for Steep Pitch | Per Square 9/12 to 10/12 pitch | 13
Additional for Steep Pitch | Per Square 11/12 to 12/12 pitch | 26
Additional for Steep Pitch | Per Square 13/12 plus pitch | 38
Masonry Chimney Flashing, Large | Per Chimney 49" Wide and up | 350 | Step and Counter Flashing to be factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step. Counter flashing to be cut in 1" deep crimped over and sealed with roof caulk. Includes Ice & Water on deck and up sidewall.
Masonry Chimney Flashing, Small | Per Chimney up to 48" wide | 250 | Step and Counter Flashing to be factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step. Counter flashing to be cut in 1" deep crimped over and sealed with roof caulk. Includes Ice & Water on deck and up sidewall.
Step / Continuous Flashing | Per Linear Foot | 2.5 | Factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step. Includes Ice & Water on deck and up sidewall.
Step and Counter Flashing | Per Linear Foot | 5 | Factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step, Counter flash to be cut in 1" deep crimped over and sealed with roof caulk. Includes Ice & Water on deck and up sidewall.
Cricket Small | Each | 250 | Complete installation up to 48" wide.
Cricket Large | Each | 300 | Complete installation 49" wide and up.
Chimney Removal | Each | Detailed Quote | Must permanently cap in attic and permanently close off in home. Inspector to review all details and approve costs. Estimates required.
Retro Pipe Boot | Each | 75 | No cut 3-N-1 flashings will be accepted.
Modified Bitumen | Per Square 0/12 to 2/12 | 525 | Complete system, includes dump/disposal. NO TORCH DOWN.
EPDM | Per Square 0/12 to 2/12 | 650 | Complete system, includes dump/disposal.
Gaco Roof 100% Silicone Roof Coating | Per Square | 450 | Complete system includes pressure washing roof deck
Metal Roofing | Per Square | Detailed Quote | Only with approval of inspector. Must include all trims. Inspector to review all details and approve costs. Estimates required
Other Roofing | TPO, Hydrostop, etc. | Detailed Quote | Only with approval of Inspector to review all details and approve costs. Estimates required
Roof Decking/ OSB, Plywood | Per Sheet (4' X 8') | 55
Roof Decking/1X Material | Per Linear Foot | 3.5
Rain Diverter | 10' Section | 30
Shingle Molding | Per Linear Foot | 4 | Painting included.
Gutters and Downspouts with Leaf Guards | Per Linear Foot | 19 | 6" Seamless w/leaf guards. Screen wire leaf guards are prohibited.
Wood Fascia | Per Linear Foot | 8.5 | Finished.
Wood Soffit | Per Linear Foot | 11.5 | Finished, includes ventilation.
Soffit Vents | Each, 4" Round or 16" X 8" | 11.8 | For use with existing wood soffits.
Metal Fascia Wrap | Per Linear Foot | 8.9 | Includes replacement of damaged lumber.
Vinyl Soffit | Per Linear Foot | 11.8 | Includes replacement of damaged lumber.
Complete Vinyl Boxing, Fascia and Soffit | Per Linear Foot | 17.8 | Includes replacement of damaged lumber.
Vinyl Siding | Per Square .040 or Better | 275 | Complete siding system. Excludes Fanfold Insulation.
Fanfold Insulation | Per Square | 41 | Backing for vinyl installation.
T-111 (5/8) | Installed (per 4' X 8' sheet) | 88 | Complete installation.
Exterior Painting | Per Square Foot | 9 | Primed with two coats of paint.
HVAC | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Split System 14.3 SEER2 / 15 SEER minimum | Per Ton, New Installation | 4100 | All new components R-8 ducts, boots, registers, grills, return, line set, thermostat, etc.
Split System 14.3 SEER2 / 15 SEER minimum | Per Ton, Equipment Replacement | 2650 | All new equipment including line set, digital thermostat and wire.
Packaged System 13.4 SEER2 / 14 SEER minimum | Per Ton, New Installation | 3900 | All new components shroud, R-8 ducts, boots, registers, grills, return, line set,thermostat, etc.
Packaged System 13.4 SEER2 / 14 SEER minimum | Per Ton, Equipment Replacement | 2450 | All new equipment including shroud, digital thermostat and wire.
Duct Replacement | Per Ton, Duct Replacement | 1500 | All new R-8 duct work, boots, registers, grills and returns.
Cross Over Duct | Per Linear Foot | 17 | R-8 cross over duct in mobile homes.
Sealing off Deleted Boots | Each | 25 | Capped tapped and mastic. When moving system from floor to ceiling.
Duct Repair |  | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Return | New Return | 425 | New return when needed with equipment replacement.
Mini Split System 14.3 SEER2 / 15 SEER minimum | Per Ton, New Installation | 3850 | New Mini Split system, removal of existing system.
DOORS and WINDOWS | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Double Hung Replacement Window | Per Window, Includes Wrap | 600 | Double Hung, Energy Star, All windows must be wrapped. Must provide invoice for windows with final inspection.
Replacement Window Coastal | Per Window, Includes Wrap | 650 | Double Hung, Energy Star, All windows must be wrapped. Must provide invoice for windows with final inspection.
Replacement Window Wrap Deduction | Per Window. | -100 | Deduct if frame is already wrapped or wrapping does not apply.
Window Wrap | Per Window. | 100 | Wrapping of existing window or door frame without window replacement.
Hurricane Protection of Window Opening | Per Window. | 90 | 1/2" plywood with hurricane panel hardware. Includes labeling of panels.
Attic access door | 22"x 30" Minimum Clear Opening | 300 | Complete new installation trimmed, painted and insulation tent.
Attic Ladder | Aluminum/Wood | 900 | Complete new installation trimmed, painted and insulation tent.
Attic Ladder Replacement | Aluminum/Wood | 750 | Trimmed, painted and insulation tent.
Crawl Space Access Door | All Treated or Metal with Clasp | 250
Exterior No Glass Door Unit Prehung | 6 Pnl Fiberglass with Deadbolt | 800 | Energy Star, new locksets and painted.
Exterior No Glass Door Unit Prehung | Full, 1/2 Light, or Fan Light Fiberglass with Deadbolt | 1000 | Energy Star, new locksets and painted.
Exterior Door Slab | 6 Pnl, full or1/2 Light, Fan Light Wood, Steel or Fiberglass | 500 | Energy Star, new locksets, new weather stripping and painted.
Peep Hole / Door Viewer | Per door | 30 | Install at appropriate height for homeowner.
Patio Door | Vinyl Slider | 1200 | Energy Star.
Patio Door | Fiberglass with Deadbolt | 1700 | Energy Star, new locksets and painted.
Storm Door | Wood Core Standard Self Storing | 300
Interior Door Unit Prehung | Wood or Molded | 450 | Installed, new lockset and finished.
Interior Door Slab | Wood or Molded | 350 | Installed and finished.
Bi Fold Door | Wood or Molded | 300 | Installed and finished.
Increase Door Opening to 36" | Add on to Prehung Unit | 250 | Complete installation and finished.
FLOOR | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Vinyl Sheet | Per Square Foot | 3.55 | Full glued with twenty-year (20) minimum warranty.
LVT | Per Square Foot | 5 | 5 mm thick minimum, Full glue or floating with twenty-year (20) minimum warranty. Waterproof in bathrooms and kitchens.
Harwood Flooring | Per Square Foot | 6.25 | Repair or Patch in work only.
Refinish Hardwood Flooring | Per Square Foot | 3.25 | Existing hardwood flooring.
Underlayment | Per 4X8 sheet. NO LAUAN PLYWOOD | 60 | Must be an underlayment. Will have XXXX's all over it. Pic's required.
Subfloor | 23/32 Plywood or OSB per 4X8 sheet | 80
Quarter Round Molding | Per Linear Foot | 2.5 | Installed and finished.
Baseboard Molding | Per Linear Foot | 3.75 | Installed and finished.
Floor Joist | Per Linear Foot | 8
BATHROOM | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Tub Shower Unit | 60" Tub/Shower, New Components | Detailed Quote | Inspector to review all details and approve costs. Estimates required
Shower Unit | 60" Walk in Shower, New Components | Detailed Quote | Inspector to review all details and approve costs. Estimates required
Handicap Roll-In Shower Unit | Wheelchair accessible | Detailed Quote | ADA compliant. Inspector to review all details and approve costs. Estimates required.
Tub Shower Faucet | Delta, American Standard, Moen | 390 | No plastic, complete installation. ADA compliant. WaterSense certified.
Shower Slide Bar with Head | Delta, American Standard, Moen | 200 | No plastic, complete installation. ADA compliant. WaterSense certified.
Hand Held shower Head | Delta, American Standard, Moen | 130 | No plastic, complete installation. ADA compliant. WaterSense certified.
ADA Shower Chair | Free Standing | 95 | ADA complaint.
Grab Bars | Each | 90 | ADA complaint.
Shower Head | Replacement | 60 | WaterSense certified.
24" Vanity | Vanity with Top and Side Splashes, as needed | 295 | Complete installation of unit, all new plumbing. Add faucet.
30" Vanity | Vanity with Top and Side Splashes, as needed | 360 | Complete installation of unit, all new plumbing. Add faucet.
36" Vanity | Vanity with Top and Side Splashes, as needed | 415 | Complete installation of unit, all new plumbing. Add faucet.
Vanity Faucet | Delta, American Standard, Moen, New Components | 195 | No plastic, complete installation. ADA compliant. WaterSense certified.
Medicine Cabinet | Recessed or Surface Mounted | 75
Exhaust Fan | Replacement | 200 | 70 CFM minimum, vented to exterior.
Exhaust Fan | New installation | 300 | 70 CFM minimum, complete installation, vented to exterior.
Towel Bars and Paper Holders | Each | 30
Toilet | Each, New Components | 360 | Complete installation, ADA complaint, WaterSense certified.
KITCHEN & LAUNDRY | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Kitchen Faucet | Delta, American Standard, Moen, New Components | 240 | No Plastic, complete installation, ADA compliant.
Kitchen Sink | Stainless, Double bowl, 8"deep, Strainers, New Components | 380 | Complete installation. Add Faucet.
Base Cabinets | Per Linear Foot, Prefinished | 220 | Complete installation. Includes demo.
Wall Cabinets | Per Linear Foot, Prefinished | 190 | Complete installation. Includes demo.
Counter Top | Per Linear Foot | 55 | Complete installation, including all endcaps. Includes demo.
Range Hood Vented | Replacement | 250 | 250 CFM minimum unit.
Range Hood Vented | New Install includes Electrical and Ducting | 550 | 250 CFM minimum unit.
Range Hood Non-Vented | Replacement | 250
Range Hood Non-Vented | New Install includes Electrical | 465
Dryer Vent | Replacement | 125 | Complete installation including exterior damper, interior connection and hard pipe
ELECTRICAL | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Rewire Whole House | Everything New, Including Fixtures per 2018 IRC | Detailed Quote | Inspector to review all details and approve costs. Estimates required
200 AMP Service Upgrade | Wire, Mast, Meter Base, Panel Box, Breakers | Detailed Quote | With 200 Amp disconnect. Inspector to review all details and approve costs. Estimates required.
Sub Panel | Complete Install | 325 | Sub panel for HVAC install.
Panel Box | Complete Install | 600 | Replacement of existing panel box and breakers
Branch Circuit / Home Run | 15 or 20 Amp with Arch Fault Breaker | 200 | New circuit from panel box for smokes, lighting or receptacles.
Branch Circuit / Home Run | 30 to 60 Amp with Breaker and Disconnect | 260 | New circuit from panel box for water heaters and HVAC equipment.
Service Disconnect | Disconnect for HVAC or Water Heater | 60 | For use with existing wiring.
GFCI | Exterior Unit with Weather Proof Components | 90 | Upgrade an existing receptacle to GFCI.
GFCI | Interior Unit | 55 | Upgrade an existing receptacle to GFCI.
Switches and Receptacles | New Devices with Cover Plates | 20 | Swap out.
Light Fixture | Small, Single Bulb | 60 | Swap out, Energy Star.
Light Fixture | Large, Two or Three Bulb | 90 | Swap out, Energy Star.
Light Fixture | Fluorescent 4', Two or Four Bulb, Wrapped Fixture | 140 | Swap out, Energy Star.
Ceiling Fan 52" | 52" with Light Kit | 250 | Swap out, Energy Star. No cheap fans. Fan allowance $125.00.
Smoke Detector | Device Replacement | 30 | Replacement of out of date or missing hardwired detector.
Smoke and Carbon Monoxide Detector | Device Replacement | 60 | Replacement of out of date or missing hardwired detector.
Smoke Detector | Each, Hardwired | 120 | New install includes all electrical. Per 2018 IRC.
Smoke and Carbon Monoxide Detector | Each, Hardwired | 150 | New install includes all electrical. Per 2018 IRC.
Wireless Smoke and Carbon Monoxide Detector | Each | 100 | With Inspector approval only. Must be interconnected with 10 yr. battery.
PLUMBING | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Replumb Whole House | Water and or Sewer Lines | Quote | Inspector to review all details and approve costs. Estimates required
Stop Valves, Ball Valves or Boiler Valves | Each | 45 | Complete installation with escutcheon or flange as required.
Metal Braided Supply Lines | Each | 20 | Metal Braided Supply Line
Water Heater | Electric 38-40 Gal., 6 Year Minimum Warranty | 1000 | Swap out complete installation with all new components.
Water Heater | Gas 40 Gal., 6 Year Minimum Warranty | 1200 | Swap out complete installation with all new components.
Thermal Expansion Tank | Each | 100 | Complete installation with all new components.
Gas Line | Gas Line Replacement | 95 | Complete installation with new components.
Heater Hut | Insulated Hut, Use Proper Model Gas or Electric | 500 | Complete installation with pad. Add $75.00 for gas heater with stack.
Relocate | Electric Water Heater Relocation | 150 | With inspector approval only.
Relocate | Gas Water Heater Relocation | 250 | With inspector approval only.
Tankless Gas Water Heater | 5.5 GPM Minimum, Swap Out from Tank to Tankless | 2000 | Complete installation with all components.
Septic System | Complete System, Tank and Drain Field | QUOTE | Inspector to review all details and approve costs. Estimates required.
Septic Drain Field | Drain Field | QUOTE | Inspector to review all details and approve costs. Estimates required.
Septic Tank Pump Out | Pumping of Tank for Repairs | QUOTE | Inspector to review all details and approve costs. Estimates required.
Water Well | Complete New Well System. Post Test Results | QUOTE | Inspector to review all details and approve costs. Estimates required.
Water Well | Repair of Existing Well System. Post Test Results | QUOTE | Inspector to review all details and approve costs. Estimates required.
INSULATION | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
R-13 Fiberglass Batt | Per Square Foot | 1.5 | Wall insulation.
R-19 Fiberglass Batt | Per Square Foot | 2 | Floor insulation.
R-30 Fiberglass Batt | Per Square Foot | 3 | Attic or Ceiling insulation where blown-in will not work, or for a repair.
R-38 Blown-In | Per Square Foot | 2 | Attic insulation. R-value card must be installed, signed and dated.
Attic Stair Insulator | Each | 150 | Attic Stair Insulator / Tent.
Vapor Barrier | Per Square Foot | 1.25 | Crawl space.
FOUNDATION | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Automatic Foundation Vents | Each | 70
Foundation Vent | Each | 35
Foundation Vent Well | Each | 45
Jack Post | Each, Steel | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Block or Brick Piers | Each, Masonry | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Termite Treatment | Per Square Foot | Detailed Quote | Must provide certification and invoice from company. Inspector to review all details and approve costs. Estimates required.
INTERIOR WALLS / CEILING | DESCRIPTION & MATERIALS | M&L COST | OTHER INFORMATION
Gypsum Board | Per Square Foot, Walls and Ceilings | 4 | Complete installation ready to paint.
Spray Texture | Per Square Foot | 3 | Includes primer coat. Pictures required of primer coat.
Painting | Per Square Foot of Wall or Ceiling | 5 | Base White Color Only. Primed with two coats of paint.
LANDINGS/DECKS/RAILS | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
4'x4' Landing | Treated Wood, 16" O.C. Framing, Post Bolted | 1200 | Complete landing, steps, rails and decking.
4'X6' Landing | Treated Wood, 16" O.C. Framing, Post Bolted | 1400 | Complete landing, steps, rails and decking.
Deck or Landing- Per Square Foot | Treated Wood, 16" O.C. Framing, Post Bolted | 45 | Complete deck, steps, rails and decking.
Wood Steps | Per Step, Treated Wood, Tread and Riser | 75 | Complete Stair.
Rails | Per Linear Foot, Treated Wood, Rail or Hand Rail | 35 | Complete Rail system.
Re-Decking Existing Deck | Per Square Foot, Treated Wood | 8 | Re-Decking of Existing deck surface includes tear off and disposal.
Handicap Ramp- Per Square Foot | Treated Wood, 16" O.C. Framing, Post Bolted | 50 | No Plywood. Complete ramp, rails and decking. Include hand-drawn plan.
4" Thick Concrete Pad / Landing | Per Square Foot | 15 | Broom Finished, Must pitch correctly.
Notes: 1) Cost lists are maximum allowable costs. Cost may vary based on location, type of product, availability, and other factors. 2) If an item required for a project is not included on this cost list, the Sponsor must request an approved amount from SC Housing Construction staff prior to submittal. 3) If a line item cost exceeds the maximum allowable cost by less than 10%, then the line item cost may be justified with material and labor invoicing at time of initial inspection. If not justifiable sponsor will have to complete #4 below. 4) If a line item cost would exceed the maximum allowable cost by more than 10%, the Sponsor is responsible for obtaining three quotes for the line item for review and approval of the cost by SC Housing Construction staff and management prior to initial inspection.

## Compatibility Report
Compatibility Report for 2020 Construction Cost Sheet.xls
Run on 11/20/2019 16:49
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Minor loss of fidelity | # of occurrences | Version
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 16 | Excel 97-2003