## Sheet1
2027-2028 Construction Cost Sheet - Rev. 07/2026
All Cost Listed are Maximum Allowable Cost
SOFT COST | DESCRIPTION & MATERIAL | COST | SPECIFICATIONS / OTHER INFORMATION
Building Permits | Per Job Site | Local Cost | Posted on job site.
DEMO | DESCRIPTION | COST | OTHER INFORMATION
Carpet | Per Square Foot of floor | 2.5 | Removal and disposal of existing carpet.
Floor | Per Square Foot of floor | 2.75 | Demo and disposal of floor down to floor joist, includes existing flooring.
Ceiling | Per Square Foot of ceiling | 2.25 | Demo and disposal of ceiling to ceiling joist.
Walls | Per Square Foot of wall | 1.75 | Demo and disposal of wall down to Studs.
Floor, Walls and Ceiling | Per Square Foot of floor area | 5.25 | Demo and disposal of floor, walls and ceilings down to joist and studs.
Bath Room Floor | Per Square Foot of floor | 8 | Demo and disposal of floor down to floor joist, includes fixtures and cabinetry.
Bath Room | Per Square Foot of floor area | 12 | Demo and disposal of floor, walls and ceiling down to joist and studs, includes fixtures and cabinetry.
Deck or Landing | Per Square Foot | 4 | Demo and disposal of entire deck or landing and components.
EPA RRP CONTAINMENT | DESCRIPTION | COST | OTHER INFORMATION
Windows or Exterior Doors | Per a Window or Door | 100 | All inclusive fee per window or door to meet all EPA RRP requirements including but not limited to signage, containment's and clean up.
Renovation Containments | Per Component | Detailed Quote | Inspector to review all details and approve costs. Estimates required
EXTERIOR | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Three Tab Roofing Shingles | Per Square 2/12 to 8/12 pitch | 360 | Complete roof system. Includes complete tear off, Synthetic Felt, Drip Edge, Valley Lining/ Ice & Water, Ridge Vent, Pipe Boots, Penetration Flashings and Dump/ Disposal Fees. Racking Application of Shingles is Prohibited.
Architectural Roofing Shingles | Per Square 4/12 to 8/12 pitch | 370 | Complete roof system. Includes complete tear off, Synthetic Felt, Drip Edge, Valley Lining/ Ice & Water, Ridge Vent, Pipe Boots, Penetration Flashings and Dump/ Disposal Fees. Architectural style shingles prohibited on pitches less than 4/12. Racking Application of Shingles is Prohibited.
Double Synthetic Underlayment | Per Square 2/12 up to 4/12 pitch | 22 | Double synthetic underlayment for roof pitch 2/12 up to 4/12.
Additional Layers of shingles | Per Square | 20 | Per additional layer, includes dump/disposal.
Additional for Steep Pitch | Per Square 9/12 to 10/12 pitch | 21
Additional for Steep Pitch | Per Square 11/12 to 12/12 pitch | 32
Additional for Steep Pitch | Per Square 13/12 plus pitch | 45
Masonry Chimney Flashing, Large | Per Chimney 49" Wide and up | 495 | Step and Counter Flashing to be factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step. Counter flashing to be cut in 1" deep crimped over and sealed with roof caulk. Includes Ice & Water on deck and up sidewall.
Masonry Chimney Flashing, Small | Per Chimney up to 48" wide | 380 | Step and Counter Flashing to be factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step. Counter flashing to be cut in 1" deep crimped over and sealed with roof caulk. Includes Ice & Water on deck and up sidewall.
Step / Continuous Flashing | Per Linear Foot | 7 | Factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step. Includes Ice & Water on deck and up sidewall.
Step and Counter Flashing | Per Linear Foot | 11 | Factory painted 0.019 " thickness minimum, 4"h X 4"w X 8"L minimum step, Counter flash to be cut in 1" deep crimped over and sealed with roof caulk. Includes Ice & Water on deck and up sidewall.
Cricket Small | Per Chimney up to 48" wide | 255 | Complete installation, does not include step and counter flashing.
Cricket Large | Per Chimney 49" wide and up | 385 | Complete installation, does not include step and counter flashing.
Chimney Removal | Each | Detailed Quote | Must permanently cap in attic and permanently close off in home. Inspector to review all details and approve costs. Estimates required.
Retro Pipe Boot | Each | 75 | No cut 3-N-1 flashings will be accepted.
Modified Bitumen | Per Square 0/12 to 2/12 | 600 | Complete system, includes dump/disposal. NO TORCH DOWN.
EPDM | Per Square 0/12 to 2/12 | 750 | Complete system, includes dump/disposal.
Gaco Roof 100% Silicone Roof Coating | Per Square | 550 | Complete system includes pressure washing roof deck
Metal Roofing | Per Square | Detailed Quote | Only with approval of inspector. Must include all trims. Inspector to review all details and approve costs. Estimates required
Other Roofing | TPO, Hydrostop, etc. | Detailed Quote | Only with approval of Inspector to review all details and approve costs. Estimates required
Roof Decking/ OSB, Plywood | Per Sheet (4' X 8') | 45
Roof Decking/1X Material | Per Linear Foot | 7
Rain Diverter | 10' Section | 50
Shingle Molding | Per Linear Foot | 13 | Finished, primed with two coats of paint.
Gutters with Leaf Guards | Per Linear Foot | 20 | 6" Seamless w/leaf guards. Screen wire leaf guards are prohibited.
Downspouts with Splash Block | Per Linear Foot | 10 | Down Spout with Splash Block.
Wood Fascia | Per Linear Foot | 12.5 | Finished, primed with two coats of paint.
Wood Soffit | Per Linear Foot | 15 | Finished, primed with two coats of paint, includes ventilation.
Soffit Vents | Each, 4" Round or 16" X 8" | 18 | For use with existing wood soffits.
Metal Fascia Wrap | Per Linear Foot | 11 | Includes replacement of damaged lumber.
Vinyl Soffit | Per Linear Foot | 14 | Includes replacement of damaged lumber.
Complete Vinyl Boxing, Fascia, Soffit, Freeze Board | Per Linear Foot | 21 | Includes replacement of damaged lumber.
Vinyl Siding | Per Square .040 or Better | 344 | Complete siding system. Excludes Fanfold Insulation.
Fanfold Insulation | Per Square | 47 | Backing for vinyl installation.
Porch Ceiling (Vinyl) | Per Square Foot | 8 | Complete solid vinyl soffit system.
T-111 (5/8, 19/32") | Installed (per 4' X 8' sheet) | 102 | Complete installation including two coats of stain or primer and two coats of paint.
Exterior Painting | Per Square Foot | 11 | Primed with two coats of paint.
HVAC | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
HVAC NEW Install, Split or Package System, 14.3 SEER2, Electric or Gas. | 1.5 - 2.0 Ton | 10000 | All new equipment and components including exterior shroud (packaged units only), compressor pad, plenums, R-8 ducts, boots, registers, grills, return, line set, digital thermostat and wire, condensate/drain pans, condensate drains, etc. Sealing of joints and seams shall be with UL listed bucket mastic (not tape). HVAC equipment must have a minimum ten (10) year parts warranty including the compressor.
| 2.5 Ton | 11750
| 3.0 Ton | 12600
| 3.5 Ton | 13650
| 4.0 Ton | 14400
| 5.0 Ton | 17000
HVAC Replacement, Split or Package System, 14.3 SEER2 minimum, Electric or Gas. | 1.5 - 2.0 Ton | 5800 | All new equipment including plenums, digital thermostat, condensate/drain pans, condensate drains, removal and disposal of existing system, etc. Sealing of joints and seams shall be with UL listed bucket mastic (not tape). HVAC equipment must have a minimum ten (10) year parts warranty including the compressor. Includes demo and disposal.
| 2.5 Ton | 6500
| 3.0 Ton | 7000
| 3.5 Ton | 7350
| 4.0 Ton | 7700
| 5.0 Ton | 9500
HVAC Replacement, Compressor Pad | Plastic Compressor Pad | 100 | Use Only with Equipment Replacement
HVAC Replacement, Steel Ceiling or Wall Diffusers | Each | 30 | Use Only with Equipment Replacement
HVAC Replacement, Steel Baseboard Diffusers | Each | 40 | Use Only with Equipment Replacement
HVAC Replacement, Steel Return Air Filter Grill | Each | 100 | Use Only with Equipment Replacement
HVAC Replacement, New/ Additional Return | New Return | 500 | Use Only with Equipment Replacement. New/ Additional return when needed with equipment replacement. Including metal plenum, duct, and return air filter grill. Sealing of joints and seams shall be with UL listed bucket mastic (not tape).
HVAC Duct Replacement | 1.5 - 2.0 Ton | 4200 | All new R-8 duct work, boots, registers, grills and returns. Sealing of joints and seams shall be with UL listed bucket mastic (not tape). Includes demo and disposal
| 2.5 Ton | 5250
| 3.0 Ton | 5600
| 3.5 Ton | 6300
| 4.0 Ton | 6700
| 5.0 Ton | 7500
HVAC Cross Over Duct | Per Linear Foot | 25 | R-8 cross over duct in mobile homes.
Sealing off Deleted Boots | Each | 30 | Capped tapped and mastic. When moving system from floor to ceiling.
HVAC Duct Repair |  | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
MINI SPLIT NEW Install, 14.3 SEER2 minimum | 0.5 - 1.5 Ton, single zone, base cost w/1 head and line set | 4500 | New Mini Split system complete including compressor pad, control wire, line set, line set cover, condensate drains, removal and disposal of existing system, etc. HVAC equipment must have a minimum ten (10) year parts warranty including the compressor.
| 2.0 - 3.0 Ton, multi zone, base cost w/1 head and line set | 5500
| 4.0 - 5.0 Ton, multi zone, base cost w/1 head and line set | 7000
Mini Split Add-On | Per additional Head | 1750 | Complete Install. Includes head, condensate drain, 50' line set, control wire, and line set cover
Mini Split Add-On | Line Set add-on over 50', per linear foot | 25 | Complete Install
DOORS and WINDOWS | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Replacement Window | Per Window, Includes Demo and Wrap | 600 | Energy Star, All windows must be wrapped. Must provide invoice for windows with final inspection.
Replacement Window Coastal | Per Window, Includes Demo and Wrap | 650 | Energy Star, All windows must be wrapped. Must provide invoice for windows with final inspection.
Replacement Window Wrap Deduction | Per Window. | -100 | Deduct if frame is already wrapped or wrapping does not apply.
Window Wrap | Per Window. | 100 | Wrapping of existing window or door frame without window replacement.
Hurricane Protection of Window Opening | Per Window. | 90 | 1/2" plywood with hurricane panel hardware. Includes labeling of panels.
Attic access door | 22"x 30" Minimum Clear Opening | 300 | Complete new installation trimmed, primed with two coats of paint, and insulation tent.
Attic Ladder | Aluminum/Wood | 900 | Complete new installation trimmed, primed with two coats of paint, and insulation tent.
Attic Ladder Replacement | Aluminum/Wood | 750 | Trimmed, primed with two coats of paint, and insulation tent.
Crawl Space Access Door | All Treated or Metal with Clasp or barrel bolt | 250 | Complete installation including barrel bolt or hasp.
Exterior No Glass Door Unit Prehung | 6 Pnl Fiberglass with Deadbolt | 800 | Energy Star, new locksets, and painted with two coats of paint.
Exterior with Glass Door Unit Prehung | Full, 1/2, 1/4 or Fan Light Fiberglass with Deadbolt | 1200 | Energy Star, new locksets, and painted with two coats of paint.
Exterior Door Slab | 6 Pnl, full or1/2 Light, Fan Light Wood, Steel or Fiberglass | 600 | Energy Star, new locksets, new weather stripping, and primed with two coats of paint.
Peep Hole / Door Viewer | Per door | 30 | Install at appropriate height for homeowner.
Patio Door | Vinyl Slider | 1200 | Energy Star.
Patio Door | Fiberglass with Deadbolt | 1700 | Energy Star, new locksets, and painted with two coats of paint.
Storm Door | Wood Core Standard Self Storing | 300 | Complete installation.
Interior Door Unit Prehung | Wood or Molded | 450 | Installed, new lockset and primed with two coats of paint.
Interior Door Slab | Wood or Molded | 350 | Installed, new hinges, new lockset, and primed with two coats of paint.
Bi Fold Door | Wood or Molded | 300 | Installed, and primed with two coats of paint.
Increase Door Opening to 36" | Add on to Prehung Unit | 300 | Complete installation, and primed with two coats of paint.
FLOOR | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Vinyl Sheet | Per Square Foot | 4 | Full glued with twenty-year (20) minimum warranty.
LVT | Per Square Foot | 6 | 12 mm thick minimum, Full glue or floating with twenty-year (20) minimum warranty. Waterproof in bathrooms and kitchens.
Harwood Flooring | Per Square Foot | 8.5 | Repair or Patch in work only, does not include demo.
Refinish Hardwood Flooring | Per Square Foot | 4 | Existing hardwood flooring.
Underlayment | Per 4X8 sheet. NO LAUAN PLYWOOD | 65 | Must be an underlayment. Will have XXXX's all over it. Pic's required.
Subfloor | 23/32 Plywood or OSB per 4X8 sheet | 75
Quarter Round Molding | Per Linear Foot | 2.75 | Installed and finished.
Baseboard Molding | Per Linear Foot | 4 | Installed and finished.
Floor Joist | Per Linear Foot | 9 | R&R of joist, rafters, sills and beams, includes tear out/off and disposal.
BATHROOM | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Tub Shower Unit | 60" Tub/Shower, New Components | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Shower Unit | 60" Walk in Shower, New Components | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Handicap Roll-In Shower Unit | Wheelchair accessible | Detailed Quote | 2010 ADA/ ANSI 11.1-2017 compliant. Inspector to review all details and approve costs. Estimates required.
Tub Shower Faucet | Delta, American Standard, Moen | 420 | No plastic, complete installation. ADA compliant. WaterSense certified.
Shower Slide Bar with Head | Delta, American Standard, Moen | 220 | No plastic, complete installation. ADA compliant. WaterSense certified.
Hand Held shower Head | Delta, American Standard, Moen | 140 | No plastic, complete installation. ADA compliant. WaterSense certified.
ADA Shower Chair | Free Standing | 110 | ADA complaint.
Grab Bars | Each | 100 | ADA complaint.
Shower Head | Replacement | 65 | No plastic, complete installation. ADA compliant. WaterSense certified.
24" Vanity | Vanity with Top and Side Splashes, as needed | 350 | Complete installation of unit including p-trap. Add faucet if needed.
30" Vanity | Vanity with Top and Side Splashes, as needed | 400 | Complete installation of unit including p-trap. Add faucet if needed.
36" Vanity | Vanity with Top and Side Splashes, as needed | 450 | Complete installation of unit including p-trap. Add faucet if needed.
Vanity Faucet | Delta, American Standard, Moen, New Components | 210 | No plastic, complete installation including new metal braided supply lines. ADA compliant. WaterSense certified.
Medicine Cabinet | Recessed or Surface Mounted | 80 | Complete installation.
Exhaust Fan | Replacement | 220 | 70 CFM minimum, vented to exterior.
Exhaust Fan | New installation | 325 | 70 CFM minimum, complete installation, vented to exterior.
Towel Bars and Paper Holders | Each | 35 | Complete installation.
Toilet | Each, New Components | 380 | Complete installation including wax ring and new metal braided supply line, ADA complaint, WaterSense certified.
KITCHEN & LAUNDRY | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Kitchen Faucet | Delta, American Standard, Moen, New Components | 260 | No plastic, complete installation including new metal braided supply lines. ADA compliant. WaterSense certified.
Kitchen Sink | Stainless, Double bowl, 8"deep, Strainers, New Components | 410 | Complete installation including new strainers and p-trap assembly. Add Faucet if needed.
Base Cabinets | Per Linear Foot, Prefinished | 240 | Complete installation including hardware. Includes demo.
Wall Cabinets | Per Linear Foot, Prefinished | 205 | Complete installation including hardware. Includes demo.
Counter Top | Per Linear Foot | 60 | Complete installation, including all endcaps. Includes demo.
Range Hood Vented - R&R - Replacement | 250 CFM minimum | 275 | Complete installation including cabinet trimming, electrical, and duct connections.
Range Hood Vented - New Install | 250 CFM minimum | 600 | Complete installation including cabinet trimming, electrical, and ducting to the exterior.
Range Hood Non-Vented - R&R - Replacement | 250 CFM minimum | 250 | Complete installation including cabinet trimming and electrical.
Range Hood Non-Vented | 250 CFM minimum | 475 | Complete installation including cabinet trimming and electrical.
Dryer Vent | Replacement | 135 | Complete installation including exterior damper, interior connection and hard pipe.
ELECTRICAL | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Rewire Whole House | Everything New, Including Fixtures per 2021 IRC | Detailed Quote | Inspector to review all details and approve costs. Estimate required that includes total number of Switches, Receptacles, GFCI's, Smoke Detectors, Ceiling Fans, Light Fixtures, Flood/Security Lights, Equipment Connections, Telephone, RG- 59, and Cat-5.
200 AMP Service Upgrade | Wire, Mast, Meter Base, Panel Box, Breakers | Detailed Quote | With 200 Amp disconnect. Inspector to review all details and approve costs. Estimates required.
Sub Panel | Complete Install | 425 | Sub panel for HVAC install, includes wire and breaker.
Panel Box | Complete Install | 750 | Replacement of existing panel box and breakers, does not include wire.
Branch Circuit / Home Run | 15 or 20 Amp with Arch Fault Breaker | 250 | New circuit from panel box for smokes, lighting, receptacles and equipment.
Branch Circuit / Home Run | 30 to 60 Amp with Breaker and Disconnect | 325 | New circuit from panel box for water heaters and HVAC equipment.
Service Disconnect | Disconnect for HVAC or Water Heater | 75 | Install of service disconnect, does not include new circuit.
Wire Whip | Non-Metallic Flexible | 75 | Electrical service whip.
Exterior GFCI- R&R or New Install | 20 Amp GFCI Exterior Unit with Weather Proof Components | 100 | Install of GFCI receptacle with weather proof box and cover, does not include new circuit.
Interior GFCI - R&R or New Install | 20 AMP GFCI Interior Unit | 75 | Install of interior GFCI receptacle, does not include new circuit or wall repairs.
Switches and Receptacles - R&R or New Install | New Devices with Cover Plates | 30 | Install of switches and receptacles with cover plates, does not include new circuit or wall repairs.
Small Light Fixture - R&R or New Install | Small, LED, 900 Lumens Minimum | 60 | Install of LED lighting fixture, does not include switch or new circuit.
Large Light Fixture - R&R or New Install | Large, LED, 1500 Lumens Minimum | 90 | Install of LED lighting fixture, does not include switch or new circuit.
Kitchen Light Fixture - R&R or New Install | 4' Wrapped Fixture, LED 5000 Lumens Minimum | 150 | Install of LED fixture, does not include switch or new circuit.
Ceiling Fan 52"- R&R or New Install | 52" Minimum with LED Light Kit, 900 Lumens Minimum | 300 | Install of Ceiling fan, No cheap fans. Fan allowance $125.00, does not include switch or new circuit.
Smoke Detector - R&R | Device Replacement | 60 | Replacement of out of date or missing hardwired detector.
Smoke & Carbon Monoxide Detector - R&R | Device Replacement | 120 | Replacement of out of date or missing hardwired detector.
Smoke Detector - New Install | Each, Hardwired | 120 | New install includes all electrical. Per 2018 IRC.
Smoke & Carbon Monoxide Detector - New Install | Each, Hardwired | 150 | New install includes all electrical. Per 2018 IRC.
Wireless Smoke and Carbon Monoxide Detector | Each | 150 | With Inspector approval only. Must be interconnected with 10 yr. battery.
PLUMBING | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Replumb Whole House | Water and or Sewer Lines | Detailed Quote | Inspector to review all details and approve costs. Estimates required
Stop Valves, Ball Valves or Boiler Valves | Each | 45 | Complete installation with escutcheon or flange as required.
Metal Braided Supply Lines | Each | 20 | Metal Braided Supply Line.
Water Heater - Electric - R&R | Electric 38-40 Gal., 6 Year Minimum Warranty | 1200 | Swap out complete installation including water line hook up, electrical hook up, drain pan and pipping for drain pan and T&P valve, all new components.
Water Heater - Gas - R&R | Gas 40 Gal., 6 Year Minimum Warranty | 1400 | Swap out complete installation including water line hook up, gas hook up, B-vent hook up, drain pan and pipping for drain pan and T&P valve, all new components.
Thermal Expansion Tank | Each | 100 | Complete installation with all new components.
Water Heater Stand | Galvanized Steel Stand | 100 | Complete installation.
Gas Line R&R | Gas Line Repair and or replacement | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Heater Hut | Insulated Hut, Use Proper Model Gas or Electric | 500 | Complete installation with pad. Add $75.00 for gas heater with stack.
Tankless Gas Water Heater | 7.0 GPM Minimum, Swap Out from Tank to Tankless | 2500 | Complete installation with all components.
Septic System | Complete System, Tank and Drain Field | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Septic Drain Field | Drain Field | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Septic Tank Pump Out | Pumping of Tank for Repairs | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Water Well-New | Complete New Well System. Post Test Results | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Water Well- Repair | Repair of Existing Well System. Post Test Results | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
INSULATION | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
R-13 Fiberglass Batt | Per Square Foot | 1.75 | Wall insulation.
R-19 Fiberglass Batt | Per Square Foot | 2.25 | Floor insulation.
R-30 Fiberglass Batt | Per Square Foot | 3.25 | Attic or Ceiling insulation where blown-in will not work, or for a repair.
R-38 Blown-In | Per Square Foot | 2.5 | Attic insulation. R-value card must be installed, signed and dated.
Attic Stair Insulator | Each | 150 | Attic Stair Insulator / Tent.
Vapor Barrier | Per Square Foot | 1.25 | Crawl space.
FOUNDATION | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
Vinyl Skirting/ Underpinning | Per Linear Foot | 15 | Complete install includes Skirting Panel, Top Back Rail, Top Front Rail, Ground Channel, and fasteners.
Automatic Foundation Vents | Each | 70
Foundation Vent | Each | 35
Foundation Vent Well | Each | 45
Jack Post | Each, Steel | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Block or Brick Piers | Each, Masonry | Detailed Quote | Inspector to review all details and approve costs. Estimates required.
Termite Treatment | Per Square Foot | Detailed Quote | Must provide certification and invoice from company. Inspector to review all details and approve costs. Estimates required.
INTERIOR WALLS / CEILING | DESCRIPTION & MATERIALS | M&L COST | OTHER INFORMATION
Gypsum Board | Per Square Foot, Walls and Ceilings | 4 | Complete installation ready to paint, does not include demo.
Spray Texture | Per Square Foot | 3 | Includes primer coat. Pictures required of primer coat.
Painting | Per Square Foot of Wall or Ceiling | 5 | Base White Color Only. Primed with two coats of paint.
LANDINGS/DECKS/RAILS | DESCRIPTION & MATERIAL | M&L COST | OTHER INFORMATION
4'x4' Landing - 0'-5' in Height | Treated Wood, 16" O.C. Framing, Post Bolted | 1200 | Complete landing, steps, rails, graspable hand rails, and decking, does not include demo.
4'X6' Landing - 0'-5' in Height | Treated Wood, 16" O.C. Framing, Post Bolted | 1400 | Complete landing, steps, rails, graspable hand rails, and decking, does not include demo.
Deck or Landing- Per Square Foot | Treated Wood, 16" O.C. Framing, Post Bolted | 45 | Complete deck, steps, rails, graspable hand rails, and decking, does not include demo.
Wood Steps | Per Step, Treated Wood, Tread and Riser | 75 | Complete Stair, includes tear off and disposal.
Rails | Per Linear Foot, Treated Wood, Rail or Hand Rail | 35 | Complete rail, graspable hand rail system, includes tear off and disposal.
Re-Decking Existing Deck | Per Square Foot, Treated Wood | 8 | Re-Decking of Existing deck surface includes tear off and disposal.
Handicap Ramp- Per Square Foot | Treated Wood, 16" O.C. Framing, Post Bolted | 50 | No Plywood. Complete ramp, rails and decking. Include hand-drawn plan.
4" Thick Concrete Pad / Landing | Per Square Foot | 15 | Broom Finished, Must pitch correctly.
Notes:
1) Cost listed are maximum allowable costs. Cost may vary based on location, type of product, availability, and other factors.
2) The cost list does not include all possible items or materials that may be required for repair or replacements. Any excluded items must be reasonably and justifiably priced by the contractor and approved by SC Housing Construction staff.
3) If a line item cost exceeds the maximum allowable cost, the Sponsor is responsible for obtaining three quotes for the line item for review and approval of the cost by SC Housing Construction staff and management.